MEASURING AND MODELLING THE DYNAMIC RESPONSE

OF REMOTE MOUNTAIN LAKE ECOSYSTEMS TO

ENVIRONMENTAL CHANGE

A programme of MOuntain LAke Research

MOLAR



PROTOCOL FOR isolation, preparation of slides and counting

Work Package 3.

Jan Fott

Wolfgang Hofman

Charles University, Prague

Max-Planck-Institute for Limnology

Sediment Cladocera: isolation, preparation of slides, counting

1.	Equipment

Precision balance

Stirrer hot-plate

Compound microscope and/or good quality stereomicroscope

Counter

2.	 Isolation of cladoceran remains from the sediment

- Weigh about 3 g wet sediment precisely, transfer into an Erlenmeyer flask (100 - 250 ml), add 50 ml of 10% KOH

- Heat 10 - 15 minutes on a stirrer hot-plate (avoid boiling up!)

- Fill up with tap water (cooling) and screen on a 40 mm sieve, washing well with use of a polyethylene wash bottle

OPTIONAL (if carbonates are present)

Put the residue from the sieve into a 100 ml beaker, add 10% HCl and repeat (3)

4.    Transfer the residue into a labelled vial

3.	 Preparation of slides and counting

- Put the residue into a calibrated 10 ml centrifuge tube

- Let it settle (or centrifuge)

- Reduce the volume to 2 - 10 ml by removing the supernate water

- Mix well and take a subsample of 0.5 ml; distribute the subsample on 4 slides (the subsample should contain at least about 200 chydorids and  200 planktonic Cladocera)

- Cover with 24x32 slips and count at about 100x magnification

- After counting return all material back to the labelled vial

OPTIONAL

a. 	Fractions >100 mm and  100>(fraction)>40 mm are separated by screening and 		steps 1 - 6 are carried out separately. This improves the counting of large but 			scarce remains (e.g. ephippia of Daphnia).

b. 	Staining or use of phase contrast is left to the discretion of the analyst

c. 	Glycerol may be added in order to prebent drying up.

4.	 Expression of the results

Calculation of numbers per gram wet weight of the sediment is carried out according to Frey (1986) tab. 1, ”total exuviae”. Data on ”lithography” (wet density, dry weight, loss on ignition) may be used for recalculation per unit volume, dry weight or organic matter).

5. 	Permanent slides

Permanent slides will be produced for intercalibrations of taxonomy and circulated among the members of the group. Two methods of making permanent slides are suggested:

a. 	The fast method: (1) let the subsample on the slide dry, (2) add a drop of 96% alcohol, 	(3) mount 	in EUPARAL

b. 	The method using Chlorazol Black for staining chitin and mounting in PVA: The 	technique 	as recommended by Mirka Prazakova was circulated among all members of the 	group.

6. 	References

Frey D., 1986: Cladocera Analysis.-  p. 227 - 257 in: Berglund B.E. (ed.), Palaeohydrological changes in the temperate zone in the last 15 000 years. Subproject B. Lake and mire environments. Volume II. Specific methods. International Geological Correlation Programme, Project 158.